## Production Order
[8 empty] | SPEC | AIR CONTROL
ORDER NO. |  |  | CUSTOMER |  | Siam U. |  |  | SERIAL NO. | SM2308XXX
ISSUED BY |  |  | PRS |  | FINAL TEST |  |  | DELIVERY |  |  | No. | BOM No. | AIR CONTROL | ELECTRIC CONTROL | STD > ○ | Spec | Spec | Component | WI NO | Name | Rev. | Update | Prepared | Status | Rep. |  | lot | Remark
STANDARD |  |  |  | OPTION [REPLACE STD] |  | S/N NO. | OPTION ADDITIONAL |  |  | S/N NO. |  |  |  |  | OPT >● | Siam U. | Naresuan U.
[11 empty] | 1 | 230086 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0100 | MU/VACUUM TANK W/CHECK VALVE ASM (FOR SE) | A | 2023-06-09 | mathida | completed | AC
Main Unit | 1 | 220V | [5 empty] | W-ASU-1607-0900-0001 | MU/WATER TANK ASM |  | 2 | 230087 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0200 | MU/TRANSFORMER & PCB WIRING ASM | A | 2023-06-08 | mathida | completed | ACP1 | ACP2
[8 empty] | SCALER SATELEC XINETIC |  |  | 3 | 230088 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0300 | MU/MAIN WATER ASM | A | 2023-06-09 | mathida | completed | AC
[8 empty] | SCALER SATELEC NEWTRON #SP4055 |  |  | 4 | 230089 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0400 | MU/MAIN AIR ASM | A | 2023-06-08 | mathida | completed | AC
Cover | 1 | STD |  |  | For Cabinet |  |  | MICRO MOTOR TR-SII |  |  | 5 | 230090 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0500 | MU/SOLENOID VALVE ASM | A | 2023-06-08 | mathida | completed | AC
[5 empty] | For Hangle arm |  |  | MONITOR SUPPORT |  |  | 6 | 230091 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0600 | MU/MAIN BODY ASM | A | 2023-06-12 | mathida | completed | AC
[8 empty] | Mobile Cart |  |  | 7 | 230127 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0701 | MU/LINEAR ACTUATOR & POTENTIOMETERS ASM | A | 2023-06-09 | mathida | completed | AC
Phantom | 0 | Phantom top height（700-850） |  |  | Phantom top height（600-750) |  |  | Hanger arm |  |  | 8 | 230093 | 1 | 1 | ○ | ○ |  | MAIN UNIT | W-ASU-1607-0800 | MU/COVER ASM | A | 2023-06-09 | mathida | completed | AC
OS-F NR
Holder |  | VC, SE Holder |  |  | SE Holder
SE Holder & Flex Arm
Foot Control |  | Air System Control |  |  | Electric System Control
Table |  | Spring Arm |  |  | Spring Arm For Cabinet
|  | Table Air System Control |  |  | Table Electric System Control
|  | Mobile Air System Control |  |  | Mobile Electric System Control
|  | Hangle arm Air System Control |  |  | Hangle arm Electric System Control
Tubing |  | Hight Speed Tubing
Low Speed Tubing
3-Way Cartridge syringe
HVE Tubing
SE Tubing
Light | 0 | On-Off manual |  |  | Sensor
0
Accessories | 0 | Accessories STD
Stool | 0 | OS-F DR
0
Suction |  | Air |  |  | Motor
PRODUCTION ORDER [SSX2.5]
Bom
เมื่อในกรอบเป็นเลข 1 แล้วกดที่ ปุ่ม Bom
จะแสดงจำนวน Bom ที่ใช้งาน
อ้างอิง Bom ที่ กำหนดใน Sheet "LIST" โดยจะนำเลข Bom ไปเทียบกับ Sheet "data bom" ครับ

## LIST
SPEC
NONE
AIR CONTROL
ELECTRIC CONTROL
main unit air | cover air | cover cabinet | cover hanger | phantom 700-850 | phantom 600-750 | holder vc se | holder flex | holder se | foot air | foot electric | table arm | table arm cabinet | table air | table air mo | table air hanger | table electric | table electric mo | table electric hanger | tubing | light | light sensor | accessories | stool | suction motor
c8 | c11 | f11 | f12 | c14 | f14 | c16 | c17 | f16 | c19 | f19 | c21 | f21 | c23 | c24 | c25 | f23 | f24 | f25 | c27 | c33 | f33 | c35 | c37 | f39
230086 | 230093 | 230094 |  | 230092 | 230092 | 230097 | 230096 | 230098 | 230099 | 230127 | 230101 | 230132 | 230103 |  |  | 230103 |  |  | 230116 | 230121 |  | 230129 | 210002
230087 | [12 empty] | 230104 |  |  | 230104 |  |  | 230117 | 230122 |  |  | 210003
230088 | [12 empty] | 230106 |  |  | 230105 |  |  | 230118 | 230123 |  |  | 210017
230089 | [12 empty] | 230108 |  |  | 230107 |  |  | 230119 |  |  |  | 210005
230090 | [12 empty] | 230109 |  |  | 230108 |  |  | 230120 |  |  |  | 210204
230091 | [12 empty] | 230110 |  |  | 230109
230127 | [12 empty] | 230111 |  |  | 230110
[13 empty] | 230113 |  |  | 230112
[13 empty] | 230114 |  |  | 230128
[13 empty] | 230115 |  |  | 230114
230115

## data bom
Bom List SSX25
No. | BOM No. | AIR CONTROL | ELECTRIC CONTROL | STD > ○ | Spec | Spec | Component | WI NO | Name | Rev. | Update | Prepared | Status | Rep. |  | lot | Remark
|  |  |  | OPT >● | Siam U. | Naresuan U. | Set | [10 empty] | check ble
1 | 230086 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0100 | MU/VACUUM TANK W/CHECK VALVE ASM (FOR SE) | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
2 | 230087 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0200 | MU/TRANSFORMER & PCB WIRING ASM | A | 2023-06-08 | mathida | completed | ACP1 | ACP2 |  |  | 1
3 | 230088 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0300 | MU/MAIN WATER ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
4 | 230089 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0400 | MU/MAIN AIR ASM | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
5 | 230090 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0500 | MU/SOLENOID VALVE ASM | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
6 | 230091 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0600 | MU/MAIN BODY ASM | A | 2023-06-12 | mathida | completed | AC |  |  |  | 1
7 | 230092 | 1 | 1 | ○ | ○ | ● | MAIN UNIT | W-ASU-1607-0700 | MU/PHANTOM ASM | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
8 | 230093 | 1 | 1 | ○ | ○ |  | MAIN UNIT | W-ASU-1607-0800 | MU/COVER ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
9 | 230094 | 2 | 2 | ● |  | ● | MAIN UNIT | W-ASU-1607-0800-0001 | MU/COVER ASM FOR CABINET | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
10 | 230095 | 3 | 3 | ● |  |  | MAIN UNIT | W-ASU-1607-0900-0001 | MU/WATER TANK ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
11 | 230096 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-1000 | MU/SE HOLDER & FLEX ARM ASM | A | 2023-06-12 | mathida | completed | AC |  |  |  | 1
12 | 230097 | 1 | 1 | ○ |  |  | MAIN UNIT | W-ASU-1607-1001 | MU/VC, SE HOLDER & MICRO SW WIRING ASM | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
13 | 230098 | 2 | 2 | ● | ● | ● | MAIN UNIT | W-ASU-1607-1000-0001 | MU/SE HOLDER & MICRO SW WIRING ASM | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
14 | 230127 | 1 | 1 | ○ | ○ | ○ | MAIN UNIT | W-ASU-1607-0701 | MU/LINEAR ACTUATOR & POTENTIOMETERS ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
15 | 230099 | 1 |  | ○ | ○ |  | FOOT CONTROL | W-ASU-1602-0400 | FC/FOOT CONTROL AIR SYSTEM #UN-0037 | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
16 | 230100 |  | 1 | ● |  | ● | FOOT CONTROL | W-ASU-1602-0400-0001 | FC/FOOT CONTROL ELECTRIC CONTROL | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
17 | 230101 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-0600 | TB/SPRING ARM ASM | A | 2023-06-07 | mathida | completed | AC |  |  |  | 1
18 | 230132 | 2 | 2 | ● |  |  | TABLE ASM | W-ASU-1605-0600-0001 | TB/SPRING ARM ASM FOR CARBINET | A | 2023-06-19 | mathida | completed | AC |  |  |  | 1
19 | 230103 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2000 | TB/TABLE FRAME ASM | A | 2023-06-12 | mathida | completed | AC |  |  |  | 1
20 | 230104 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2001 | TB/REAR HOLDER ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
21 | 230105 |  | 1 | ● |  | ● | TABLE ASM | W-ASU-1605-2001-0001 | TB/HANDPIECE MICRO SWITCH WIRING | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
22 | 230106 | 1 |  | ○ | ○ |  | TABLE ASM | W-ASU-1605-2002 | TB/NEEDLE VALVE BLOCK & AB SINGLE PIECE ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
23 | 230107 |  | 1 | ● |  | ● | TABLE ASM | W-ASU-1605-2002-0001 | TB/SOLENOID VALVE ASM | A | 2023-06-12 | mathida | completed | AC |  |  |  | 1
24 | 230108 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2003 | TB/PRESSURE GAUGE BLOCK ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
25 | 230109 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2004 | TB/OPTIC LIGHT PCB WIRING | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
26 | 230110 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2005 | TB/DRAIN OIL TANK ASM | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
27 | 230111 | 1 |  | ○ | ○ |  | TABLE ASM | W-ASU-1605-2006 | TB/HANDPIECE AIR SWITCH ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
28 | 230112 |  | 1 | ● |  | ● | TABLE ASM | W-ASU-1605-2006-0001 | TB/HANDPIECE CONTROL PCB & OPTIC LIGHT PCB WIRING | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
29 | 230113 | 1 |  | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2007 | TB/TABLE MAIN WIRING FOR AIR SWITCH SYSTEM | A | 2023-06-15 | mathida | completed | AC |  |  |  | 1
30 | 230128 |  | 1 | ● |  |  | TABLE ASM | W-ASU-1605-2007-0001 | TB/TABLE MAIN WIRING | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
31 | 230114 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2008 | TB/FILM SWITCH ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
32 | 230115 | 1 | 1 | ○ | ○ | ○ | TABLE ASM | W-ASU-1605-2009 | TB/SOLENOID VALVE FILTER ASM | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
33 | 230116 | 1 | 1 | ○ | ○ | ○ | FINAL TEST | W-ASU-1601-0400 | FN/HIGHT SPEED HANDPIECE TUBING SET (W/INSULATOR HOSE) | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
34 | 230117 | 1 | 1 | ○ | ○ | ○ | FINAL TEST | W-ASU-1601-0500 | FN/LOW SPEED HANDPIECE TUBING SET (W/INSULATOR HOSE) | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
35 | 230118 | 1 | 1 | ○ | ○ | ○ | FINAL TEST | W-ASU-1601-0300 | FN/3-WAY CARTRIDGE SYRINGE COMPLETE SET | A | 2023-06-08 | mathida | completed | AC |  |  |  | 1
36 | 230119 | 1 | 1 | ○ |  |  | FINAL TEST | W-ASU-1601-0100 | FN/UNIVERSAL VACUUM EJECTOR EC HEAD TUBING SET | A | 2023-06-07 | mathida | completed | AC |  |  |  | 1
37 | 230120 | 1 | 1 | ○ | ○ | ○ | FINAL TEST | W-ASU-1601-0200 | FN/SALIVA EJECTOR VALVE ON/OFF TUBING SET | A | 2023-06-07 | mathida | completed | AC |  |  |  | 1
38 | 230121 | 1 | 1 | ○ | ○ | ○ | OPERATING LIGHT | W-ASU-1606-0300 | OL/LIGHT ARM ASM | A | 2023-06-09 | mathida | completed | ACP1 | ACP2 |  |  | 1
39 | 230122 | 1 | 1 | ○ | ○ | ○ | OPERATING LIGHT | W-ASU-1606-0100 | OL/LIGHT HEAD ASM | A | 2023-06-15 | mathida | completed | AC |  |  |  | 1
40 | 230123 | 1 | 1 | ○ | ○ | ○ | OPERATING LIGHT | W-ASU-1606-0101 | OL/OPERATING LIGHT WIRING OF SWITCH (LIGHT) | A | 2023-06-09 | mathida | completed | AC |  |  |  | 1
41 | 230129 | 1 | 1 | ○ | ○ | ○ | OPERATING LIGHT | W-ASU-1606-0500 | OL/ACCESSORIES SET | A | 2023-06-12 | mathida | completed | AC |  |  |  | 1
| 1 | [5 empty] | Scaler |  | SCALER SATELEC XINETIC
| 1 | [5 empty] | Scaler |  | SCALER SATELEC NEWTRON #SP4055
| 1 | [5 empty] | Micromotor |  | MICRO MOTOR TR-SII | [8 empty] | 0
26 | 230124 |  |  | ● | ○ | ○ | TABLE ASM | W-ASU-1605-2004-0001 | TB/OPTIC LIGHT PCB WIRING |  |  |  | cancelled |  |  |  | ยกเลิก Bom ไปรวมกับชุด HANDPIECE PCB | 1
| 1 | [5 empty] | Monitor |  | MONITOR SUPPORT | [8 empty] | 0
| 210002 | [6 empty] | W-UPU-1301-0100 | DENTAL OS-F /SEAT STOOL OS-F ASM | [8 empty] | 1
| 210003 | [6 empty] | W-UPU-1301-0200 | DENTAL OS-F /BACKREST STOOL OS-FD ASM | [8 empty] | 1
| 210017 | [6 empty] | W-UPU-1301-0400 | DENTAL OS-F /BACKREST & WEIGHT CENTER STOOL OS-F ASM | [8 empty] | 1
| 210005 | [6 empty] | W-UPU-1301-0500 | DENTAL OS-F /BASE STOOL OS-FD ASM | [8 empty] | 1
| 210204 | [6 empty] | W-UPU-1301-0700 | DENTAL OS-F /PACKING STOOL OS-FD ASM | [8 empty] | 1
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0