## Production Order
[9 empty] | SX3IIR2-A | SX3000IIR2-AIR SUCTION
[9 empty] | SX3IIR2-AMB | SX3000IIR2-AIR SUCTION MOBILE
[9 empty] | SX3IIR2-AM1 | SX3000IIR2-2 SYSTEM 1 TANK
[9 empty] | SX3IIR2-AM1MB | SX3000IIR2-2 SYSTEM 1 TANK MOBILE
[9 empty] | SX3IIR2-AM2 | SX3000IIR2-2 SYSTEM 2 TANK
[9 empty] | SX3IIR2-M | SX3000IIR2-MOTOR SUCTION
[9 empty] | SX3IIR2-MMB | SX3000IIR2-MOTOR SUCTION MOBILE
[9 empty] | SX3IIR2-AM2S | SX3000IIR2-2 SUCTION
[9 empty] | SX3IIR2-AM2SMB | SX3000IIR2-2 SUCTION MOBILE
[9 empty] | SPEC | SX3IIR2-A
ORDER NO. |  |  | CUSTOMER | [5 empty] | SERIAL NO.
ISSUED BY |  |  | PRS |  | FINAL TEST |  |  |  | DELIVERY |  |  | No. | No. (ตัวลูก) | Description | Unit of Measure Code | Quantity
STANDARD |  |  |  | OPTION [REPLACE STD] |  |  | S/N NO. | OPTION ADDITIONAL |  |  | S/N NO.
[12 empty] | 1 | W-ASU-1102-0900 | MAIN CHAIR/MAIN CHAIR ASM | PCS | 1
Main Chair | 1 | SX3IIR2-MC01 | Over Arm 220V |  | SX3IIR2-MC01-RP01 | Over Arm 110V |  |  | SX3IIR2-MC01-AD01 | BASE SAFETY ASM (FOR SWITCH SFQ-1 BL) |  | 2 | W-ASU-1102-0900 | MAIN CHAIR/MAIN CHAIR ASM | PCS | 1
[12 empty] | 3 | W-ASU-1102-0501 | MAIN CHAIR/HYDRAULIC MOTOR WIRING | PCS | 1
[12 empty] | 4 | W-ASU-1102-0701 | MAIN CHAIR/TRANSFORMER & FUSE WIRING ASM | PCS | 1
Armrest | 1 | SX3IIR2-MC02 | Single Armrest | [5 empty] | SX3IIR2-MC02-AD01 | DOUBLE ARMREST ASM |  | 5 | W-ASU-1102-0601 | MAIN CHAIR/HYDRAULIC VALVE WIRING | PCS | 1
Backrest | 1 | SX3IIR2-MC03 | Backrest STD |  | SX3IIR2-MC03-RP01 | Backrest Safety | [5 empty] | 6 | W-ASU-1102-0601 | MAIN CHAIR/HYDRAULIC VALVE WIRING | PCS | 1
Headrest | 1 | SX3IIR2-MC04 | Headrest STD |  | SX3IIR2-MC04-RP01 | Headrest Double Lock | [5 empty] | 7 | W-ASU-1102-0602 | MAIN CHAIR/OIL TANK ASM | PCS | 1
Foot control | 1 | SX3IIR2-MC05 | Foot Control STD | [8 empty] | 8 | W-ASU-1102-0602 | MAIN CHAIR/OIL TANK ASM | PCS | 1
[12 empty] | 9 | W-ASU-1102-1300 | MAIN CHAIR/LIFT CYLINDER & BACK CYLINDER | PCS | 1
Unit Body | 1 | SX3IIR2-UB01 | Air Suction | [5 empty] | SX3IIR2-UB01-AD01 | AIR OUTLET COUPLING SET (MMS-M1/8) |  | 10 | W-ASU-1102-1300 | MAIN CHAIR/LIFT CYLINDER & BACK CYLINDER | PCS | 1
[9 empty] | SX3IIR2-UB01-AD02 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM |  | 11 | W-ASU-1102-1000 | MAIN CHAIR/SUB BASE PLATE ASM (None CE) | PCS | 1
[9 empty] | SX3IIR2-UB01-AD03 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME |  | 12 | W-ASU-1102-1000 | MAIN CHAIR/SUB BASE PLATE ASM (None CE) | PCS | 1
[9 empty] | SX3IIR2-UB01-AD04 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) |  | 13 | W-ASU-1102-0201 | MAIN CHAIR/CHAIR MICRO SWITCH WIRING | PCS | 1
[12 empty] | 14 | W-ASU-1102-0201 | MAIN CHAIR/CHAIR MICRO SWITCH WIRING | PCS | 1
|  | SX3IIR2-UB02 | Motor Suction | [5 empty] | SX3IIR2-UB02-AD01 | AIR OUTLET COUPLING SET (MMS-M1/8) |  | 15 | W-ASU-1102-1400 | MAIN CHAIR/COVER ASM | PCS | 1
[9 empty] | SX3IIR2-UB02-AD02 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM |  | 16 | W-ASU-1102-1400 | MAIN CHAIR/COVER ASM | PCS | 1
[9 empty] | SX3IIR2-UB02-AD03 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME |  | 17 | W-ASU-1102-0901 | MAIN CHAIR/HYDRAULIC TESTING | PCS | 1
[9 empty] | SX3IIR2-UB02-AD04 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) |  | 18 | W-ASU-1102-0901 | MAIN CHAIR/HYDRAULIC TESTING | PCS | 1
[12 empty] | 19 | W-ASU-1102-0904 | MAIN CHAIR/SINGLE ARMREST ASM | PCS | 1
|  | SX3IIR2-UB03 | 2 System | [5 empty] | SX3IIR2-UB03-AD01 | AIR OUTLET COUPLING SET (MMS-M1/8) |  | 20 | W-ASU-1102-0903 | MAIN CHAIR/BACKREST ASM (STD) | PCS | 1
[9 empty] | SX3IIR2-UB03-AD02 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM |  | 21 | W-ASU-1102-0301 | MAIN CHAIR/BACKREST MICRO SWITCH WIRING | PCS | 1
[9 empty] | SX3IIR2-UB03-AD03 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME |  | 22 | W-ASU-1102-1100 | MAIN CHAIR/ SLIDE BAR HEADREST ASM | PCS | 1
[9 empty] | SX3IIR2-UB03-AD04 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) |  | 23 | W-ASU-1102-0402 | MAIN CHAIR/FOOT CONTROLLER ASM | PCS | 1
[12 empty] | 24 | W-ASU-1103-0501 | UNIT BODY/UNIT BODY ASM (AIR SUCTION & SE AIR-HVE MOTOR FOR VC TUBING Q17) | PCS | 1
|  | SX3IIR2-UB04 | 2 Suction | [5 empty] | SX3IIR2-UB04-AD01 | AIR OUTLET COUPLING SET (MMS-M1/8) |  | 25 | W-ASU-1103-0101 | UNIT BODY/SOLENOID VALVE ASM (AR AIRTAC) | PCS | 1
[9 empty] | SX3IIR2-UB04-AD02 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM |  | 26 | W-ASU-1103-0200 | UNIT BODY/SPITTOON VALVE ASM | PCS | 1
[9 empty] | SX3IIR2-UB04-AD03 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME |  | 27 | W-ASU-1103-0301 | UNIT BODY/HV & SE MICRO SWITCH WIRING | PCS | 1
[9 empty] | SX3IIR2-UB04-AD04 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) |  | 28 | W-ASU-1103-0403 | UNIT BODY/SAFTY SWITCH OF ASSISTANT HOLDER BAR ASM | PCS | 1
[12 empty] | 29 | W-ASU-1103-0303 | UNIT BODY/ASSISTANT HOLDER BAR ASM | PCS | 1
Table Asm | 1 | SX3IIR2-TB01 | Spring Arm STD |  | SX3IIR2-TB01-RP01 | Spring Arm For Monitor Support | [5 empty] | 30 | W-ASU-1103-0407 | UNIT BODY/BODY FRAME AIR SUCTION 2 FILTER CASE ASM | PCS | 1
|  | SX3IIR2-TB04 | Without Spring Arm For Mobile | [8 empty] | 31 | W-ASU-1104-0601 | BODY FRAME/DUCT HOSE ASM & MAIN WIRING (AIR SUCTION) | PCS | 1
[12 empty] | 32 | W-ASU-1105-0801 | TABLE ASM/PRIMARY ARM ASM | PCS | 1
| 1 | SX3IIR2-TB02 | Tray STD | [5 empty] | SX3IIR2-TB02-AD01 | Scaler Xinetic (F55104) W/O Control SW DR |  | 33 | W-ASU-1105-0801 | TABLE ASM/PRIMARY ARM ASM | PCS | 1
[9 empty] | SX3IIR2-TB02-AD02 | Scaler Newtron Non LED SP4055 (F55230) Complete Set |  | 34 | W-ASU-1105-0402-0001 | TABLE ASM/SPRING ARM ASM FOR MONITOR SUPPORT | PCS | 1
[9 empty] | SX3IIR2-TB02-AD03 | Solenoid Servo For Micro motor Asm (Airtac) |  | 35 | W-ASU-1105-0601 | TABLE ASM/TABLE,SPRING ARM & PRIMARY ARM ASM | PCS | 1
[9 empty] | SX3IIR2-TB02-AD04 | Solenoid Servo For Air motor Asm (Airtac) |  | 36 | W-ASU-1105-0601 | TABLE ASM/TABLE,SPRING ARM & PRIMARY ARM ASM | PCS | 1
[9 empty] | SX3IIR2-TB02-AD05 | Monitor Support II W/Lan Cable (Table) |  | 37 | W-ASU-1101-0800-0045 | Scaler Xinetic (F55104) W/O Control SW DR | PCS | 1
[12 empty] | 38 | W-ASU-1106-0301 | OPERATING LIGHT/LIGHT ARM ASM | PCS | 1
|  | SX3IIR2-TB03 | Tray Mobile |  | SX3IIR2-TB03-RP01 | Tray Mobile For Monitor Suport |  |  | SX3IIR2-TB03-AD01 | Scaler Xinetic (F55104) W/O Control SW DR |  | 39 | W-ASU-1106-0300-0002 | OPERATING LIGHT/LIGHT ARM ASM FOR MS (OL-N) | PCS | 1
[9 empty] | SX3IIR2-TB03-AD02 | Scaler Newtron Non LED SP4055 (F55230) Complete Set |  | 40 | W-ASU-1101-0504-0002 | FINAL TESTING/UNIVERSAL VACUUM EJECTOR EC HEAD TUBING SET (SX41T205160) | PCS | 1
[9 empty] | SX3IIR2-TB03-AD03 | Solenoid Servo For Micro motor Asm (Airtac) |  | 41 | W-ASU-1103-0500-0011 | UNIT BODY ASM/FILTER CASE ASM FOR HVE EC HEAD ASM (TUBING Q19) | PCS | 1
[9 empty] | SX3IIR2-TB03-AD04 | Solenoid Servo For Air motor Asm (Airtac) |  | 42 | W-ASU-1101-0203 | FINAL TESTING/3-WAY CARTRIDGE SYRINGE COMPLETE SET (NR) Cr3+ | PCS | 1
[9 empty] | SX3IIR2-TB03-AD05 | Monitor Support II W/Lan Cable (Table) |  | 43 | W-ASU-1101-0204 | FINAL TESTING/3-WAY CARTRIDGE SYRINGE COMPLETE SET (DR) Cr3+ | PCS | 1
[12 empty] | 44 | W-ASU-1101-0306 | FINAL TESTING/HIGHT SPEED HANDPIECE TUBING SET (W/INSULATOR HOSE) | PCS | 1
Operating Light | 1 | SX3IIR2-OL01 | Operating Light Sensor | [8 empty] | 45 | W-ASU-1101-0300-0003 | FINAL TESTING/HIGHT SPEED HANDPIECE BORDEN 3-H TUBING ASM | PCS | 1
[12 empty] | 46 | W-ASU-1101-0300-0003 | FINAL TESTING/HIGHT SPEED HANDPIECE BORDEN 3-H TUBING ASM | PCS | 1
| 1 | SX3IIR2-OL02 | Light Arm STD |  | SX3IIR2-OL02-RP01 | Light Arm Monitor |  |  | SX3IIR2-OL02-AD01 | Monitor Support W/Lan Cable (Light pole) |  | 47 | W-ASU-1101-0300-0003 | FINAL TESTING/HIGHT SPEED HANDPIECE BORDEN 3-H TUBING ASM | PCS | 1
[5 empty] | SX3IIR2-OL02-RP02 | Light Arm Dental Car | [5 empty] | 48 | W-ASU-1101-0300-0003 | FINAL TESTING/HIGHT SPEED HANDPIECE BORDEN 3-H TUBING ASM | PCS | 1
|  | SX3IIR2-OL03 | Light Arm Mobile |  | SX3IIR2-OL03-RP01 | Light Arm Mobile Monitor | [5 empty] | 49 | W-ASU-1101-0700-0041 | FN / MTM TR-SII-O (W/O SUB PCB) (For Duckbill) | PCS | 1
[12 empty] | 50 | W-ASU-1101-0101-0001 | FINAL TESTING/WT PRESSURE GAUGE AIR REDUCING VALVE OUT SIDE ASM | PCS | 1
[12 empty] | 51 | W-ASU-1105-1300-0002 | TABLE ASM/FILM VIEWER PANORAMA LED SET | PCS | 1
NR Tubing | 1 | SX3IIR2-FN01 | HVE Tubing STD |  | SX3IIR2-FN01-RP01 | HVE Tubing Flow rate 250 | [5 empty] | 52 | W-ASU-1106-0500-0015 | OPERATING LIGHT/ACCESSORRIES FOR HVE Q19 | PCS | 1
| 1 | SX3IIR2-FN02 | SE Tubing STD | [8 empty] | 53 | W-ASU-1104-0800-0002 | JUNCTION BOX/CFG AUTOMATIC DRAIN SEPARATOR ASM (TOL-517) | PCS | 1
| 1 | SX3IIR2-FN03 | 3-Way Syringe NR | [8 empty] | 54 | W-PKU-1101-0002 | TRANSPORT BAR SET | PCS | 1
[12 empty] | 55 | W-UPU-1101-0101 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Light gray) | PCS | 1
DR Tubing | 1 | SX3IIR2-FN04 | 3-Way Syringe DR | [8 empty] | 56 | W-UPU-1102-0101 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Light gray) | PCS | 1
| 1 | SX3IIR2-FN05 | Hight speed STD1 |  | SX3IIR2-FN05-RP01 | Hight speed Borden1 | [5 empty] | 57 | W-UPU-1103-0101 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Light gray) | PCS | 1
| 1 | SX3IIR2-FN06 | Hight speed STD2 |  | SX3IIR2-FN06-RP01 | Hight speed Borden2
| 1 | SX3IIR2-FN07 | Low speed STD |  | SX3IIR2-FN07-RP01 | MTM TR-SII-O (W/O SUB PCB) (For Duckbill)
[5 empty] | SX3IIR2-FN07-RP02 | MTM TR-SII & SC XINETIC (W/O SUB PCB) (For Duckbill)
[5 empty] | SX3IIR2-FN07-RP03 | MTM TR-SII (W/O SUB PCB) (For Duckbill)
[5 empty] | SX3IIR2-FN07-RP04 | MTM TR-SII & SC NEWTRON NON LED SP4055 (F55230)
Water Tank | 1 | SX3IIR2-FN08 | Water Tank STD |  | SX3IIR2-FN08-RP01 | Water Tank W/Reducing Valve
Film viewer | 1 | SX3IIR2-FN09 | Film Viewer Dental Size |  | SX3IIR2-FN09-RP01 | Panorama
Acussories | 1 | SX3IIR2-AC01 | ACCESSORIES STD |  | SX3IIR2-AC01-RP01 | ACCESSORIES Flow rate 250
Junction Box | 1 | SX3IIR2-JB01 | Air Suction | [5 empty] | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517)
[9 empty] | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac)
[9 empty] | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC)
[9 empty] | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac)
[9 empty] | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac)
|  | SX3IIR2-JB02 | Motor Suction | [5 empty] | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517)
[9 empty] | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac)
[9 empty] | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC)
[9 empty] | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac)
[9 empty] | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac)
|  | SX3IIR2-JB03 | Air & Motor 2 System 1 Tank | [5 empty] | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517)
[9 empty] | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac)
[9 empty] | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC)
[9 empty] | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac)
[9 empty] | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac)
|  | SX3IIR2-JB04 | Air & Motor 2 System 2 Tank (WS Airtac) | [5 empty] | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517)
[9 empty] | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac)
[9 empty] | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC)
[9 empty] | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac)
[9 empty] | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac)
|  | SX3IIR2-JB05 | Air & Motor 2 System 2 Tank (WS SMC) | [5 empty] | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517)
[9 empty] | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac)
[9 empty] | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC)
[9 empty] | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac)
[9 empty] | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac)
|  | SX3IIR2-JB06 | 2 Suction | [5 empty] | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517)
[9 empty] | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac)
[9 empty] | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC)
[9 empty] | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC)
[9 empty] | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac)
[9 empty] | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac)
Packing | 1 | SX3IIR2-PK01 | Packing | [5 empty] | SX3IIR2-PK01-AD01 | Transport Bar Set
Seat | 1 | SX3IIR2-UP01 | Seat Sponge ASM | [5 empty] | SX3IIR2-UP01-ADSLG | Light gray
[9 empty] | SX3IIR2-UP01-ADSYL | Yellow
[9 empty] | SX3IIR2-UP01-ADSOG | Orange 7549U
[9 empty] | SX3IIR2-UP01-ADSPK | Pink
[9 empty] | SX3IIR2-UP01-ADSOR | Orange 2018C
[9 empty] | SX3IIR2-UP01-ADSSB | Sky blue
[9 empty] | SX3IIR2-UP01-ADSCV | Cool violet
[9 empty] | SX3IIR2-UP01-ADSBK | Balck
[9 empty] | SX3IIR2-UP01-ADSIL | Shiny silver
[9 empty] | SX3IIR2-UP01-ADSHP | Honey pink
[9 empty] | SX3IIR2-UP01-ADSFG | Fresh green
Backrest | 1 | SX3IIR2-UP02 | Backrest Sponge ASM | [5 empty] | SX3IIR2-UP02-ADSLG | Light gray
[9 empty] | SX3IIR2-UP02-ADSYL | Yellow
[9 empty] | SX3IIR2-UP02-ADSOG | Orange 7549U
[9 empty] | SX3IIR2-UP02-ADSPK | Pink
[9 empty] | SX3IIR2-UP02-ADSOR | Orange 2018C
[9 empty] | SX3IIR2-UP02-ADSSB | Sky blue
[9 empty] | SX3IIR2-UP02-ADSCV | Cool violet
[9 empty] | SX3IIR2-UP02-ADSBK | Balck
[9 empty] | SX3IIR2-UP02-ADSIL | Shiny silver
[9 empty] | SX3IIR2-UP02-ADSHP | Honey pink
[9 empty] | SX3IIR2-UP02-ADSFG | Fresh green
Headrest | 1 | SX3IIR2-UP03 | Headrest Sponge ASM | [5 empty] | SX3IIR2-UP03-ADSLG | Light gray
[9 empty] | SX3IIR2-UP03-ADSYL | Yellow
[9 empty] | SX3IIR2-UP03-ADSOG | Orange 7549U
[9 empty] | SX3IIR2-UP03-ADSPK | Pink
[9 empty] | SX3IIR2-UP03-ADSOR | Orange 2018C
[9 empty] | SX3IIR2-UP03-ADSSB | Sky blue
[9 empty] | SX3IIR2-UP03-ADSCV | Cool violet
[9 empty] | SX3IIR2-UP03-ADSBK | Balck
[9 empty] | SX3IIR2-UP03-ADSIL | Shiny silver
[9 empty] | SX3IIR2-UP03-ADSHP | Honey pink
[9 empty] | SX3IIR2-UP03-ADSFG | Fresh green
1
Create
PRODUCTION ORDER [SX3000II R2]

## LIST
SPEC
NONE
SX3IIR2-A | 1 |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 | [9 empty] | 1 |  |  | 1 | [5 empty] | 1 | 1 | [5 empty] | 1 |  | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  |  |  |  | 1 |  | 1 |  | 1 |  | 1 | [47 empty] | 1 |  | 1 | [11 empty] | 1 | [11 empty] | 1
SX3IIR2-M | 1 |  |  | 1 |  | 1 |  | 1 |  | 1 | [5 empty] | 1 |  |  |  |  | 1 |  |  | 1 | [5 empty] | 1 | 1 | [5 empty] | 1 |  |  |  | 1 | 1 |  | 1 |  | 1 |  |  |  |  | 1 |  | 1 |  | 1 | [9 empty] | 1 | [39 empty] | 1 |  | 1 | [11 empty] | 1 | [11 empty] | 1
NO. | SX3IIR2-MC01 | SX3IIR2-MC01-RP01 | SX3IIR2-MC01-AD01 | SX3IIR2-MC02 | SX3IIR2-MC02-AD01 | SX3IIR2-MC03 | SX3IIR2-MC03-RP01 | SX3IIR2-MC04 | SX3IIR2-MC04-RP01 | SX3IIR2-MC05 | SX3IIR2-UB01 | SX3IIR2-UB01-AD01 | SX3IIR2-UB01-AD02 | SX3IIR2-UB01-AD03 | SX3IIR2-UB01-AD04 | SX3IIR2-UB02 | SX3IIR2-UB02-AD01 | SX3IIR2-UB02-AD02 | SX3IIR2-UB02-AD03 | SX3IIR2-UB02-AD04 | SX3IIR2-TB01 | SX3IIR2-TB01-RP01 | SX3IIR2-TB04 | SX3IIR2-TB02 | SX3IIR2-TB02-AD01 | SX3IIR2-TB02-AD02 | SX3IIR2-TB02-AD03 | SX3IIR2-TB02-AD04 | SX3IIR2-TB02-AD05 | SX3IIR2-OL01 | SX3IIR2-OL02 | SX3IIR2-OL02-RP01 | SX3IIR2-OL02-RP02 | SX3IIR2-OL02-AD01 | SX3IIR2-OL03 | SX3IIR2-OL03-RP01 | SX3IIR2-FN01 | SX3IIR2-FN01-RP01 | SX3IIR2-FN02 | SX3IIR2-FN03 | SX3IIR2-FN04 | SX3IIR2-FN05 | SX3IIR2-FN05-RP01 | SX3IIR2-FN06 | SX3IIR2-FN06-RP01 | SX3IIR2-FN07 | SX3IIR2-FN07-RP01 | SX3IIR2-FN07-RP02 | SX3IIR2-FN07-RP03 | SX3IIR2-FN07-RP04 | SX3IIR2-FN08 | SX3IIR2-FN08-RP01 | SX3IIR2-FN09 | SX3IIR2-FN09-RP01 | SX3IIR2-AC01 | SX3IIR2-AC01-RP01 | SX3IIR2-JB01 | SX3IIR2-JB01-AD01 | SX3IIR2-JB01-AD02 | SX3IIR2-JB01-AD03 | SX3IIR2-JB01-AD04 | SX3IIR2-JB01-AD05 | SX3IIR2-JB01-AD06 | SX3IIR2-JB01-AD07 | SX3IIR2-JB02 | SX3IIR2-JB01-AD01 | SX3IIR2-JB01-AD02 | SX3IIR2-JB01-AD03 | SX3IIR2-JB01-AD04 | SX3IIR2-JB01-AD05 | SX3IIR2-JB01-AD06 | SX3IIR2-JB01-AD07 | SX3IIR2-JB03 | SX3IIR2-JB01-AD01 | SX3IIR2-JB01-AD02 | SX3IIR2-JB01-AD03 | SX3IIR2-JB01-AD04 | SX3IIR2-JB01-AD05 | SX3IIR2-JB01-AD06 | SX3IIR2-JB01-AD07 | SX3IIR2-JB04 | SX3IIR2-JB01-AD01 | SX3IIR2-JB01-AD02 | SX3IIR2-JB01-AD03 | SX3IIR2-JB01-AD04 | SX3IIR2-JB01-AD05 | SX3IIR2-JB01-AD06 | SX3IIR2-JB01-AD07 | SX3IIR2-JB05 | SX3IIR2-JB01-AD01 | SX3IIR2-JB01-AD02 | SX3IIR2-JB01-AD03 | SX3IIR2-JB01-AD04 | SX3IIR2-JB01-AD05 | SX3IIR2-JB01-AD06 | SX3IIR2-JB01-AD07 | SX3IIR2-JB06 | SX3IIR2-JB01-AD01 | SX3IIR2-JB01-AD02 | SX3IIR2-JB01-AD03 | SX3IIR2-JB01-AD04 | SX3IIR2-JB01-AD05 | SX3IIR2-JB01-AD06 | SX3IIR2-JB01-AD07 | SX3IIR2-PK01 | SX3IIR2-PK01-AD01 | SX3IIR2-UP01 | SX3IIR2-UP01-ADSLG | SX3IIR2-UP01-ADSYL | SX3IIR2-UP01-ADSOG | SX3IIR2-UP01-ADSPK | SX3IIR2-UP01-ADSOR | SX3IIR2-UP01-ADSSB | SX3IIR2-UP01-ADSCV | SX3IIR2-UP01-ADSBK | SX3IIR2-UP01-ADSIL | SX3IIR2-UP01-ADSHP | SX3IIR2-UP01-ADSFG | SX3IIR2-UP02 | SX3IIR2-UP02-ADSLG | SX3IIR2-UP02-ADSYL | SX3IIR2-UP02-ADSOG | SX3IIR2-UP02-ADSPK | SX3IIR2-UP02-ADSOR | SX3IIR2-UP02-ADSSB | SX3IIR2-UP02-ADSCV | SX3IIR2-UP02-ADSBK | SX3IIR2-UP02-ADSIL | SX3IIR2-UP02-ADSHP | SX3IIR2-UP02-ADSFG | SX3IIR2-UP03 | SX3IIR2-UP03-ADSLG | SX3IIR2-UP03-ADSYL | SX3IIR2-UP03-ADSOG | SX3IIR2-UP03-ADSPK | SX3IIR2-UP03-ADSOR | SX3IIR2-UP03-ADSSB | SX3IIR2-UP03-ADSCV | SX3IIR2-UP03-ADSBK | SX3IIR2-UP03-ADSIL | SX3IIR2-UP03-ADSHP | SX3IIR2-UP03-ADSFG | SX3IIR2-UB03 | SX3IIR2-UB03-AD01 | SX3IIR2-UB03-AD02 | SX3IIR2-UB03-AD03 | SX3IIR2-UB03-AD04 | SX3IIR2-UB04 | SX3IIR2-UB04-AD01 | SX3IIR2-UB04-AD02 | SX3IIR2-UB04-AD03 | SX3IIR2-UB04-AD04 | SX3IIR2-TB03 | SX3IIR2-TB03-RP01 | SX3IIR2-TB03-AD01 | SX3IIR2-TB03-AD02 | SX3IIR2-TB03-AD03 | SX3IIR2-TB03-AD04 | SX3IIR2-TB03-AD05
Refer Cell | C18 | F18 | J18 | C21 | J21 | C22 | F22 | C23 | F23 | C24 | C26 | J26 | J27 | J28 | J29 | C31 | J31 | J32 | J33 | J34 | C46 | F46 | C47 | C49 | J49 | J50 | J51 | J52 | J53 | C61 | C63 | F63 | F64 | J63 | C65 | F65 | C68 | F68 | C69 | C70 | C72 | C73 | F73 | C74 | F74 | C75 | F75 | F76 | F77 | F78 | C80 | F80 | C82 | F82 | C84 | F84 | C86 | J86 | J87 | J88 | J89 | J90 | J91 | J92 | C95 | J95 | J96 | J97 | J98 | J99 | J100 | J101 | C104 | J104 | J105 | J106 | J107 | J108 | J109 | J110 | C113 | J113 | J114 | J115 | J116 | J117 | J118 | J119 | C122 | J122 | J123 | J124 | J125 | J126 | J127 | J128 | C131 | J131 | J132 | J133 | J134 | J135 | J136 | J137 | C140 | J140 | C142 | J142 | J143 | J144 | J145 | J146 | J147 | J148 | J149 | J150 | J151 | J152 | C154 | J154 | J155 | J156 | J157 | J158 | J159 | J160 | J161 | J162 | J163 | J164 | C166 | J166 | J167 | J168 | J169 | J170 | J171 | J172 | J173 | J174 | J175 | J176 | C36 | J36 | J37 | J38 | J39 | C41 | J41 | J42 | J43 | J44 | C55 | J55 | J56 | J57 | J58 | J59 | J60
BOM USE | W-ASU-1102-0900 | W-ASU-1102-0900 | W-ASU-1102-0900-0007 | W-ASU-1102-0904 | W-ASU-1102-0904-0001 | W-ASU-1102-0903 | W-ASU-1102-0900-0004 | W-ASU-1102-1100 | W-ASU-1102-1100-0001 | W-ASU-1102-0402 | W-ASU-1103-0501 | W-ASU-1103-0500-0009 | W-ASU-1104-1000-0027 | W-ASU-1103-0400-0001 | W-ASU-1103-0500-0015 | [5 empty] | W-ASU-1105-0801 | W-ASU-1105-0801 |  | W-ASU-1105-2102 | W-ASU-1101-0800-0045 | W-ASU-1101-0800-0059 | W-ASU-1105-2400-0014 | W-ASU-1105-2400-0019 | W-ASU-1106-0500-0012 | W-ASU-1106-0106 | W-ASU-1106-0301 | W-ASU-1106-0300-0002 | W-ASU-1106-0301-0001 | W-ASU-1106-0500-0010 |  |  | W-ASU-1101-0502 | W-ASU-1101-0504-0002 | W-ASU-1101-0602 | W-ASU-1101-0203 | W-ASU-1101-0204 | W-ASU-1101-0306 | W-ASU-1101-0300-0003 | W-ASU-1101-0306-1 | W-ASU-1101-0300-0003 | W-ASU-1101-0408 | W-ASU-1101-0700-0041 | W-ASU-1101-0700-0043 | W-ASU-1101-0700-0040 | W-ASU-1101-0700-0045 | W-ASU-1101-0101 | W-ASU-1101-0101-0001 | W-ASU-1101-0901 | W-ASU-1105-1300-0002 | W-ASU-1106-0500 | W-ASU-1106-0500-0015 | W-ASU-1104-0500 | W-ASU-1104-0800-0002 | W-ASU-1104-1000-0016 | W-ASU-1104-1000-0001 | W-ASU-1104-0800-0005 | W-ASU-1104-0800-0006 | W-ASU-1104-0202-0002 | W-ASU-1104-0304-0004 |  | W-ASU-1104-0800-0002 | W-ASU-1104-1000-0016 | W-ASU-1104-1000-0001 | W-ASU-1104-0800-0005 | W-ASU-1104-0800-0006 | W-ASU-1104-0202-0002 | W-ASU-1104-0304-0004 |  | W-ASU-1104-0800-0002 | W-ASU-1104-1000-0016 | W-ASU-1104-1000-0001 | W-ASU-1104-0800-0005 | W-ASU-1104-0800-0006 | W-ASU-1104-0202-0002 | W-ASU-1104-0304-0004 |  | W-ASU-1104-0800-0002 | W-ASU-1104-1000-0016 | W-ASU-1104-1000-0001 | W-ASU-1104-0800-0005 | W-ASU-1104-0800-0006 | W-ASU-1104-0202-0002 | W-ASU-1104-0304-0004 |  | W-ASU-1104-0800-0002 | W-ASU-1104-1000-0016 | W-ASU-1104-1000-0001 | W-ASU-1104-0800-0005 | W-ASU-1104-0800-0006 | W-ASU-1104-0202-0002 | W-ASU-1104-0304-0004 |  | W-ASU-1104-0800-0002 | W-ASU-1104-1000-0016 | W-ASU-1104-1000-0001 | W-ASU-1104-0800-0005 | W-ASU-1104-0800-0006 | W-ASU-1104-0202-0002 | W-ASU-1104-0304-0004 | W-PKU-1101-0001 | W-PKU-1101-0002 | W-UPU-1101-0100 | W-UPU-1101-0101 | W-UPU-1101-0102 | W-UPU-1101-0103 | W-UPU-1101-0104 | W-UPU-1101-0105 | W-UPU-1101-0106 | W-UPU-1101-0107 | W-UPU-1101-0108 | W-UPU-1101-0109 | W-UPU-1101-0110 | W-UPU-1101-0111 | W-UPU-1102-0100 | W-UPU-1102-0101 | W-UPU-1102-0102 | W-UPU-1102-0103 | W-UPU-1102-0104 | W-UPU-1102-0105 | W-UPU-1102-0106 | W-UPU-1102-0107 | W-UPU-1102-0108 | W-UPU-1102-0109 | W-UPU-1102-0110 | W-UPU-1102-0111 | W-UPU-1103-0100 | W-UPU-1103-0101 | W-UPU-1103-0102 | W-UPU-1103-0103 | W-UPU-1103-0104 | W-UPU-1103-0105 | W-UPU-1103-0106 | W-UPU-1103-0107 | W-UPU-1103-0108 | W-UPU-1103-0109 | W-UPU-1103-0110 | W-UPU-1103-0111
| W-ASU-1102-0501 | W-ASU-1102-0501-0001 |  |  |  | W-ASU-1102-0301 |  |  |  |  | W-ASU-1103-0101 | [9 empty] | W-ASU-1105-0402 | W-ASU-1105-0402-0001 |  | W-ASU-1105-2302 | [5 empty] | W-ASU-1106-0200 | [7 empty] | W-ASU-1103-0500-0011 | [18 empty] | W-ASU-1104-0304
| W-ASU-1102-0701 | W-ASU-1102-0701-0002 | [8 empty] | W-ASU-1103-0200 | [9 empty] | W-ASU-1105-0601 | W-ASU-1105-0601 |  | W-ASU-1105-2400 | [32 empty] | W-ASU-1104-0202
| W-ASU-1102-0601 | W-ASU-1102-0601 | [8 empty] | W-ASU-1103-0301 | [12 empty] | W-ASU-1105-2401 | [32 empty] | W-ASU-1104-0103
| W-ASU-1102-0602 | W-ASU-1102-0602 | [8 empty] | W-ASU-1103-0403 | [12 empty] | W-ASU-1105-0202 | [32 empty] | W-ASU-1104-0104
| W-ASU-1102-1300 | W-ASU-1102-1300 | [8 empty] | W-ASU-1103-0303 | [12 empty] | W-ASU-1105-0102 | [32 empty] | W-ASU-1104-1102
| W-ASU-1102-1000 | W-ASU-1102-1000 | [8 empty] | W-ASU-1103-0407 | [12 empty] | W-ASU-1105-1201 | [32 empty] | W-ASU-1104-0403
| W-ASU-1102-0201 | W-ASU-1102-0201 | [8 empty] | W-ASU-1104-0601 | [12 empty] | W-ASU-1105-0901 | [32 empty] | W-ASU-1104-1202
| W-ASU-1102-1400 | W-ASU-1102-1400 | [21 empty] | W-ASU-1105-2502
| W-ASU-1102-0901 | W-ASU-1102-0901 | [21 empty] | W-ASU-1105-0700
W-ASU-1105-3301
Total 178 Bom | 10 | 10 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 11 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## data bom
Production BOM No. (ตัวแม่) |  | No. (ตัวลูก) | Description | Unit of Measure Code | Quantity
SX3IIR2-A | Item | SX3IIR2-MC01 | Over Arm 220V | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC01-RP01 | Over Arm 110V | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC01-AD01 | BASE SAFETY ASM (FOR SWITCH SFQ-1 BL) | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC02 | Single Armrest | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC02-AD01 | DOUBLE ARMREST ASM | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC03 | Backrest STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC03-RP01 | Backrest Safety | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC04 | Headrest STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC04-RP01 | Headrest Double Lock | PCS | 1
SX3IIR2-A |  | SX3IIR2-MC05 | Foot Control STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-UB01 | Air Suction | PCS | 1
SX3IIR2-A |  | SX3IIR2-UB01-AD01 | AIR OUTLET COUPLING SET (MMS-M1/8) | PCS | 1
SX3IIR2-A |  | SX3IIR2-UB01-AD02 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM | PCS | 1
SX3IIR2-A |  | SX3IIR2-UB01-AD03 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME | PCS | 1
SX3IIR2-A |  | SX3IIR2-UB01-AD04 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB01 | Spring Arm STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB01-RP01 | Spring Arm For Monitor Support | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB02 | Tray STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB02-AD01 | Scaler Xinetic (F55104) W/O Control SW DR | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB02-AD02 | Scaler Newtron Non LED SP4055 (F55230) Complete Set | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB02-AD03 | Solenoid Servo For Micro motor Asm (Airtac) | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB02-AD04 | Solenoid Servo For Air motor Asm (Airtac) | PCS | 1
SX3IIR2-A |  | SX3IIR2-TB02-AD05 | Monitor Support II W/Lan Cable (Table) | PCS | 1
SX3IIR2-A |  | SX3IIR2-OL01 | Operating Light Sensor | PCS | 1
SX3IIR2-A |  | SX3IIR2-OL02 | Light Arm STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-OL02-RP01 | Light Arm Monitor | PCS | 1
SX3IIR2-A |  | SX3IIR2-OL02-RP02 | Light Arm Dental Car | PCS | 1
SX3IIR2-A |  | SX3IIR2-OL02-AD01 | Monitor Support W/Lan Cable (Light pole) | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN01 | HVE Tubing STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN01-RP01 | HVE Tubing Flow rate 250 | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN02 | SE Tubing STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN03 | 3-Way Syringe NR | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN04 | 3-Way Syringe DR | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN05 | Hight speed STD1 | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN05-RP01 | Hight speed Borden1 | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN06 | Hight speed STD2 | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN06-RP01 | Hight speed Borden2 | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN07 | Low speed STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN07-RP01 | MTM TR-SII-O (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN07-RP02 | MTM TR-SII & SC XINETIC (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN07-RP03 | MTM TR-SII (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN07-RP04 | MTM TR-SII & SC NEWTRON NON LED SP4055 (F55230) | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN08 | Water Tank STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN08-RP01 | Water Tank W/Reducing Valve | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN09 | Film Viewer Dental Size | PCS | 1
SX3IIR2-A |  | SX3IIR2-FN09-RP01 | Panorama | PCS | 1
SX3IIR2-A |  | SX3IIR2-AC01 | ACCESSORIES STD | PCS | 1
SX3IIR2-A |  | SX3IIR2-AC01-RP01 | ACCESSORIES Flow rate 250 | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01 | Air Suction | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD01 | CFG Automatic Drain Sep ASM (TOL-517) | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD02 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac) | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD03 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC) | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD04 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC) | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC) | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD06 | Solenoid Air On-Off (Airtac) | PCS | 1
SX3IIR2-A |  | SX3IIR2-JB01-AD07 | Solenoid & Regurator Water On-Off (Airtac) | PCS | 1
SX3IIR2-A |  | SX3IIR2-PK01 | Packing | PCS | 1
SX3IIR2-A |  | SX3IIR2-PK01-AD01 | Transport Bar Set | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01 | Seat Sponge ASM | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSLG | Light gray | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSYL | Yellow | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSOG | Orange 7549U | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSPK | Pink | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSOR | Orange 2018C | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSSB | Sky blue | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSCV | Cool violet | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSBK | Balck | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSIL | Shiny silver | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSHP | Honey pink | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP01-ADSFG | Fresh green | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02 | Backrest Sponge ASM | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSLG | Light gray | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSYL | Yellow | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSOG | Orange 7549U | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSPK | Pink | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSOR | Orange 2018C | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSSB | Sky blue | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSCV | Cool violet | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSBK | Balck | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSIL | Shiny silver | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSHP | Honey pink | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP02-ADSFG | Fresh green | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03 | Headrest Sponge ASM | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSLG | Light gray | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSYL | Yellow | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSOG | Orange 7549U | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSPK | Pink | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSOR | Orange 2018C | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSSB | Sky blue | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSCV | Cool violet | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSBK | Balck | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSIL | Shiny silver | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSHP | Honey pink | PCS | 1
SX3IIR2-A |  | SX3IIR2-UP03-ADSFG | Fresh green | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC01 | Over Arm 220V | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC01-RP01 | Over Arm 110V | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC01-AD01 | BASE SAFETY ASM (FOR SWITCH SFQ-1 BL) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC02 | Single Armrest | PCS | 1
SX3IIR2-M |  | SX3IIR2-MC02-AD01 | DOUBLE ARMREST ASM | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC03 | Backrest STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC03-RP01 | Backrest Safety | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC04 | Headrest STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC04-RP01 | Headrest Double Lock | PCS | 1
SX3IIR2-M | Item | SX3IIR2-MC05 | Foot Control STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UB02 | Motor Suction | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UB02-AD01 | AIR OUTLET COUPLING SET (MMS-M1/8) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UB02-AD02 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UB02-AD03 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UB02-AD04 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB01 | Spring Arm STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB01-RP01 | Spring Arm For Monitor Support | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB02 | Tray STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB02-AD01 | Scaler Xinetic (F55104) W/O Control SW DR | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB02-AD02 | Scaler Newtron Non LED SP4055 (F55230) Complete Set | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB02-AD03 | Solenoid Servo For Micro motor Asm (Airtac) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB02-AD04 | Solenoid Servo For Air motor Asm (Airtac) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-TB02-AD05 | Monitor Support II W/Lan Cable (Table) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-OL01 | Operating Light Sensor | PCS | 1
SX3IIR2-M | Item | SX3IIR2-OL02 | Light Arm STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-OL02-RP01 | Light Arm Monitor | PCS | 1
SX3IIR2-M | Item | SX3IIR2-OL02-RP02 | Light Arm Dental Car | PCS | 1
SX3IIR2-M |  | SX3IIR2-OL02-AD01 | Monitor Support W/Lan Cable (Light pole) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN01 | HVE Tubing STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN01-RP01 | HVE Tubing Flow rate 250 | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN04 | 3-Way Syringe DR | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN05 | Hight speed STD1 | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN05-RP01 | Hight speed Borden1 | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN06 | Hight speed STD2 | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN06-RP01 | Hight speed Borden2 | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN07 | Low speed STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN07-RP01 | MTM TR-SII-O (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN07-RP02 | MTM TR-SII & SC XINETIC (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN07-RP03 | MTM TR-SII (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN07-RP04 | MTM TR-SII & SC NEWTRON NON LED SP4055 (F55230) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN08 | Water Tank STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN08-RP01 | Water Tank W/Reducing Valve | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN09 | Film Viewer Dental Size | PCS | 1
SX3IIR2-M | Item | SX3IIR2-FN09-RP01 | Panorama | PCS | 1
SX3IIR2-M | Item | SX3IIR2-AC01 | ACCESSORIES STD | PCS | 1
SX3IIR2-M | Item | SX3IIR2-AC01-RP01 | ACCESSORIES Flow rate 250 | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02 | Motor Suction | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD01 | Water Sep Central Vacuum Auto Drain ASM | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD02 | CFG Automatic Drain Sep ASM (TOL-517) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD03 | Water Sep, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD04 | Water Sep, Air Filter 5,0.3,0.01 Micron & Air Regulator (SMC) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD05 | Solenoid Central Vacuum Wet & Dry ASM (Q19-Q16) (Airtac AC) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD06 | Solenoid Central Vacuum Wet & Dry ASM (Q25-Q25) (Airtac AC) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD07 | Solenoid Air On-Off (Airtac) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-JB02-AD08 | Solenoid & Regurator Water On-Off (Airtac) | PCS | 1
SX3IIR2-M | Item | SX3IIR2-PK01 | Packing | PCS | 1
SX3IIR2-M | Item | SX3IIR2-PK01-AD01 | Transport Bar Set | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01 | Seat Sponge ASM | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSLG | Light gray | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSYL | Yellow | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSOG | Orange 7549U | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSPK | Pink | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSOR | Orange 2018C | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSSB | Sky blue | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSCV | Cool violet | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSBK | Balck | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSIL | Shiny silver | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSHP | Honey pink | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP01-ADSFG | Fresh green | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02 | Backrest Sponge ASM | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSLG | Light gray | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSYL | Yellow | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSOG | Orange 7549U | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSPK | Pink | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSOR | Orange 2018C | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSSB | Sky blue | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSCV | Cool violet | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSBK | Balck | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSIL | Shiny silver | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSHP | Honey pink | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP02-ADSFG | Fresh green | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03 | Headrest Sponge ASM | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSLG | Light gray | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSYL | Yellow | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSOG | Orange 7549U | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSPK | Pink | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSOR | Orange 2018C | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSSB | Sky blue | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSCV | Cool violet | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSBK | Balck | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSIL | Shiny silver | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSHP | Honey pink | PCS | 1
SX3IIR2-M | Item | SX3IIR2-UP03-ADSFG | Fresh green | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0900 | MAIN CHAIR/MAIN CHAIR ASM | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0501 | MAIN CHAIR/HYDRAULIC MOTOR WIRING | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0701 | MAIN CHAIR/TRANSFORMER & FUSE WIRING ASM | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0601 | MAIN CHAIR/HYDRAULIC VALVE WIRING | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0602 | MAIN CHAIR/OIL TANK ASM | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-1300 | MAIN CHAIR/LIFT CYLINDER & BACK CYLINDER | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-1000 | MAIN CHAIR/SUB BASE PLATE ASM (None CE) | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0201 | MAIN CHAIR/CHAIR MICRO SWITCH WIRING | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-1400 | MAIN CHAIR/COVER ASM | PCS | 1
SX3IIR2-MC01 | Item | W-ASU-1102-0901 | MAIN CHAIR/HYDRAULIC TESTING | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0900 | MAIN CHAIR/MAIN CHAIR ASM | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0501-0001 | MAIN CHAIR/HYDRAULIC MOTOR WIRING (100V) | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0701-0002 | MAIN CHAIR/TRANSFORMER & FUSE WIRING ASM (100-110V.) | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0601 | MAIN CHAIR/HYDRAULIC VALVE WIRING | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0602 | MAIN CHAIR/OIL TANK ASM | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-1300 | MAIN CHAIR/LIFT CYLINDER & BACK CYLINDER | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-1000 | MAIN CHAIR/SUB BASE PLATE ASM (None CE) | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0201 | MAIN CHAIR/CHAIR MICRO SWITCH WIRING | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-1400 | MAIN CHAIR/COVER ASM | PCS | 1
SX3IIR2-MC01-RP01 |  | W-ASU-1102-0901 | MAIN CHAIR/HYDRAULIC TESTING | PCS | 1
SX3IIR2-MC01-AD01 |  | W-ASU-1102-0900-0007 | BASE SAFETY ASM (FOR SWITCH SFQ-1 BL) | PCS | 1
SX3IIR2-MC02 |  | W-ASU-1102-0904 | MAIN CHAIR/SINGLE ARMREST ASM | PCS | 1
SX3IIR2-MC02-AD01 |  | W-ASU-1102-0904-0001 | DOUBLE ARMREST ASM | PCS | 1
SX3IIR2-MC03 |  | W-ASU-1102-0903 | MAIN CHAIR/BACKREST ASM (STD) | PCS | 1
SX3IIR2-MC03 |  | W-ASU-1102-0301 | MAIN CHAIR/BACKREST MICRO SWITCH WIRING | PCS | 1
SX3IIR2-MC03-RP01 |  | W-ASU-1102-0900-0004 | BACKREST SAFETY ASM | PCS | 1
SX3IIR2-MC04 |  | W-ASU-1102-1100 | MAIN CHAIR/ SLIDE BAR HEADREST ASM | PCS | 1
SX3IIR2-MC04-RP01 |  | W-ASU-1102-1100-0001 | MAIN CHAIR/ SLIDE BAR HEADREST DOUBLE LOCK ASM | PCS | 1
SX3IIR2-MC05 |  | W-ASU-1102-0402 | MAIN CHAIR/FOOT CONTROLLER ASM | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0501 | UNIT BODY/UNIT BODY ASM (AIR SUCTION & SE AIR-HVE MOTOR FOR VC TUBING Q17) | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0101 | UNIT BODY/SOLENOID VALVE ASM (AR AIRTAC) | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0200 | UNIT BODY/SPITTOON VALVE ASM | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0301 | UNIT BODY/HV & SE MICRO SWITCH WIRING | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0403 | UNIT BODY/SAFTY SWITCH OF ASSISTANT HOLDER BAR ASM | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0303 | UNIT BODY/ASSISTANT HOLDER BAR ASM | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1103-0407 | UNIT BODY/BODY FRAME AIR SUCTION 2 FILTER CASE ASM | PCS | 1
SX3IIR2-UB01 |  | W-ASU-1104-0601 | BODY FRAME/DUCT HOSE ASM & MAIN WIRING (AIR SUCTION) | PCS | 1
SX3IIR2-UB01-AD01 |  | W-ASU-1103-0500-0009 | AIR OUTLET COUPLING SET (MMS-M1/8) | PCS | 1
SX3IIR2-UB01-AD02 |  | W-ASU-1104-1000-0027 | WATER SEPERATOR TANK CENTRAL VACUUM UNIT BODY ASM | PCS | 1
SX3IIR2-UB01-AD03 |  | W-ASU-1103-0400-0001 | VACUUM TANK SE W/CHECK VALVE BUILT IN BODY FRAME | PCS | 1
SX3IIR2-UB01-AD04 |  | W-ASU-1103-0500-0015 | CHECK VALVE SPITTOON UNIT BODY ASM (SX31AV145028) | PCS | 1
SX3IIR2-TB01 |  | W-ASU-1105-0801 | TABLE ASM/PRIMARY ARM ASM | PCS | 1
SX3IIR2-TB01 |  | W-ASU-1105-0402 | TABLE ASM/SPRING ARM ASM | PCS | 1
SX3IIR2-TB01 |  | W-ASU-1105-0601 | TABLE ASM/TABLE,SPRING ARM & PRIMARY ARM ASM | PCS | 1
SX3IIR2-TB01-RP01 |  | W-ASU-1105-0801 | TABLE ASM/PRIMARY ARM ASM | PCS | 1
SX3IIR2-TB01-RP01 |  | W-ASU-1105-0402-0001 | TABLE ASM/SPRING ARM ASM FOR MONITOR SUPPORT | PCS | 1
SX3IIR2-TB01-RP01 |  | W-ASU-1105-0601 | TABLE ASM/TABLE,SPRING ARM & PRIMARY ARM ASM | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-2102 | TABLE ASM/HANDPIECE CONTROL PCB WIRING FOR SC XINETIC | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-2302 | TABLE ASM/PRESSURE GAUGE BLOCK ASM (AIRTAC) | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-2400 | TABLE ASM/SOLENOID VALVE ASM | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-2401 | TABLE ASM/SOLENOID VALVE FILTER ASM | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-0202 | TABLE ASM/TABLE MAIN WIRING (None CE) | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-0102 | TABLE ASM/FILM SWITCH ASM | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-1201 | TABLE ASM/OPTIC LIGHT PCB WIRING | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-0901 | TABLE ASM/NEEDLE VALVE ASM | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-2502 | TABLE ASM/TABLE FRAME ASM | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-0700 | TABLE ASM/HANDPIECE MICRO SWITCH WIRING | PCS | 1
SX3IIR2-TB02 |  | W-ASU-1105-3301 | TABLE ASM/REAR HOLDER ASM | PCS | 1
SX3IIR2-TB02-AD01 |  | W-ASU-1101-0800-0045 | Scaler Xinetic (F55104) W/O Control SW DR | PCS | 1
SX3IIR2-TB02-AD02 |  | W-ASU-1101-0800-0059 | Scaler Newtron Non LED SP4055 (F55230) Complete Set | PCS | 1
SX3IIR2-TB02-AD03 |  | W-ASU-1105-2400-0014 | Solenoid Servo For Micro motor Asm (Airtac) | PCS | 1
SX3IIR2-TB02-AD04 |  | W-ASU-1105-2400-0019 | Solenoid Servo For Air motor Asm (Airtac) | PCS | 1
SX3IIR2-TB02-AD05 |  | W-ASU-1106-0500-0012 | Monitor Support II W/Lan Cable (Table) | PCS | 1
SX3IIR2-OL01 |  | W-ASU-1106-0106 | OPERATING LIGHT/LIGHT HEAD LED OL-N | PCS | 1
SX3IIR2-OL01 |  | W-ASU-1106-0200 | OPERATING LIGHT/WIRING OF SWITCH (LIGHT) | PCS | 1
SX3IIR2-OL02 |  | W-ASU-1106-0301 | OPERATING LIGHT/LIGHT ARM ASM | PCS | 1
SX3IIR2-OL02-RP01 | Item | W-ASU-1106-0300-0002 | OPERATING LIGHT/LIGHT ARM ASM FOR MS (OL-N) | PCS | 1
SX3IIR2-OL02-RP02 | Item | W-ASU-1106-0301-0001 | OPERATING LIGHT/LIGHT ARM ASM (FOR DENTAL CAR) | PCS | 1
SX3IIR2-OL02-AD01 | Item | W-ASU-1106-0500-0010 | Monitor Support W/Lan Cable (Light pole) | PCS | 1
SX3IIR2-FN01 |  | W-ASU-1101-0502 | FINAL TESTING/UNIVERSAL VACUUM EJECTOR VALVE ON/OFF TUBING SET | PCS | 1
SX3IIR2-FN01-RP01 | Item | W-ASU-1101-0504-0002 | FINAL TESTING/UNIVERSAL VACUUM EJECTOR EC HEAD TUBING SET (SX41T205160) | PCS | 1
SX3IIR2-FN01-RP01 | Item | W-ASU-1103-0500-0011 | UNIT BODY ASM/FILTER CASE ASM FOR HVE EC HEAD ASM (TUBING Q19) | PCS | 1
SX3IIR2-FN02 | Item | W-ASU-1101-0602 | FINAL TESTING/SALIVA EJECTOR VALVE ON/OFF TUBING SET | PCS | 1
SX3IIR2-FN03 | Item | W-ASU-1101-0203 | FINAL TESTING/3-WAY CARTRIDGE SYRINGE COMPLETE SET (NR) Cr3+ | PCS | 1
SX3IIR2-FN04 | Item | W-ASU-1101-0204 | FINAL TESTING/3-WAY CARTRIDGE SYRINGE COMPLETE SET (DR) Cr3+ | PCS | 1
SX3IIR2-FN05 | Item | W-ASU-1101-0306 | FINAL TESTING/HIGHT SPEED HANDPIECE TUBING SET (W/INSULATOR HOSE) | PCS | 1
SX3IIR2-FN05-RP01 |  | W-ASU-1101-0300-0003 | FINAL TESTING/HIGHT SPEED HANDPIECE BORDEN 3-H TUBING ASM | PCS | 1
SX3IIR2-FN06 | Item | W-ASU-1101-0306-1 | FINAL TESTING/HIGHT SPEED HANDPIECE TUBING SET (W/INSULATOR HOSE) | PCS | 1
SX3IIR2-FN06-RP01 |  | W-ASU-1101-0300-0003 | FINAL TESTING/HIGHT SPEED HANDPIECE BORDEN 3-H TUBING ASM | PCS | 1
SX3IIR2-FN07 | Item | W-ASU-1101-0408 | FINAL TESTING/LOW SPEED HANDPIECE TUBING SET (W/INSULATOR HOSE) | PCS | 1
SX3IIR2-FN07-RP01 | Item | W-ASU-1101-0700-0041 | FN / MTM TR-SII-O (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-FN07-RP02 | Item | W-ASU-1101-0700-0043 | FN / MTM TR-SII & SC XINETIC (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-FN07-RP03 | Item | W-ASU-1101-0700-0040 | FN / MTM TR-SII (W/O SUB PCB) (For Duckbill) | PCS | 1
SX3IIR2-FN07-RP04 | Item | W-ASU-1101-0700-0045 | FN / MTM TR-SII & SC NEWTRON NON LED SP4055 (F55230) | PCS | 1
SX3IIR2-FN08 | Item | W-ASU-1101-0101 | FINAL TESTING/WATER TANK PRESSURE GAUGE ASM | PCS | 1
SX3IIR2-FN08-RP01 | Item | W-ASU-1101-0101-0001 | FINAL TESTING/WT PRESSURE GAUGE AIR REDUCING VALVE OUT SIDE ASM | PCS | 1
SX3IIR2-FN09 | Item | W-ASU-1101-0901 | FINAL TESTING/FILM VIEWER ASM | PCS | 1
SX3IIR2-FN09-RP01 | Item | W-ASU-1105-1300-0002 | TABLE ASM/FILM VIEWER PANORAMA LED SET | PCS | 1
SX3IIR2-AC01 | Item | W-ASU-1106-0500 | OPERATING LIGHT/ACCESSORRIES ASM | PCS | 1
SX3IIR2-AC01-RP01 | Item | W-ASU-1106-0500-0015 | OPERATING LIGHT/ACCESSORRIES FOR HVE Q19 | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-0500 | JUNCTION BOX/JUNCTION BOX ASM | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-0304 | JUNCTION BOX/MAIN WATER PIPE ASM | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-0202 | JUNCTION BOX/MAIN AIR PIPE (AIRTAC) ASM | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-0103 | JUNCTION BOX/VACUUM TANK W/CHECK VALVE ASM (FOR SE) | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-0104 | JUNCTION BOX/VACUUM TANK W/CHECK VALVE ASM (FOR HVE) | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-1102 | JUNCTION BOX/SOLENOID VALVE (AIRTAC) ASM | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-0403 | JUNCTION BOX/FUSE SUB ASM W/O FILTER CASE | PCS | 1
SX3IIR2-JB01 | Item | W-ASU-1104-1202 | JUNCTION BOX/JUNCTION BOX COVER ASM | PCS | 1
SX3IIR2-JB01-AD01 |  | W-ASU-1104-0800-0002 | JUNCTION BOX/CFG AUTOMATIC DRAIN SEPARATOR ASM (TOL-517) | PCS | 1
SX3IIR2-JB01-AD02 |  | W-ASU-1104-1000-0016 | Junction Box/Water Seperator, Air Filter 5,0.3, 0.01 Micron & Air Regulator (Airtac) | PCS | 1
SX3IIR2-JB01-AD03 |  | W-ASU-1104-1000-0001 | Water Sep, Filter 5,0.3,0.01 M & Air Regulator (SMC) | PCS | 1
SX3IIR2-JB01-AD04 |  | W-ASU-1104-0800-0005 | JUNCTION BOX /SOLENOID VALVE CENTRAL VACUUM WET & DRY ASM (Q19-Q16) (Airtac AC) | PCS | 1
SX3IIR2-JB01-AD05 |  | W-ASU-1104-0800-0006 | JUNCTION BOX /SOLENOID VALVE CENTRAL VACUUM WET & DRY ASM (Q25-Q25) (Airtac AC) | PCS | 1
SX3IIR2-JB01-AD06 |  | W-ASU-1104-0202-0002 | JUNCTION BOX/SOLENOID VALVE (AIRTAC) AIR ON-OFF | PCS | 1
SX3IIR2-JB01-AD07 |  | W-ASU-1104-0304-0004 | JUNCTION BOX/REGURATOR & SOL (AIRTAC) WATER ON-OFF | PCS | 1
SX3IIR2-PK01 | Item | W-PKU-1101-0001 | PACKING SX3000II ASM | PCS | 1
SX3IIR2-PK01-AD01 |  | W-PKU-1101-0002 | TRANSPORT BAR SET | PCS | 1
SX3IIR2-UP01 | Item | W-UPU-1101-0100 | UPHOLSTERY ASM/SEAT ASM | PCS | 1
SX3IIR2-UP01-ADSLG | Item | W-UPU-1101-0101 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Light gray) | PCS | 1
SX3IIR2-UP01-ADSYL | Item | W-UPU-1101-0102 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Yellow) | PCS | 1
SX3IIR2-UP01-ADSOG | Item | W-UPU-1101-0103 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Orange 7549U) | PCS | 1
SX3IIR2-UP01-ADSPK | Item | W-UPU-1101-0104 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Pink) | PCS | 1
SX3IIR2-UP01-ADSOR | Item | W-UPU-1101-0105 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Orange 2018C) | PCS | 1
SX3IIR2-UP01-ADSSB | Item | W-UPU-1101-0106 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Sky blue) | PCS | 1
SX3IIR2-UP01-ADSCV | Item | W-UPU-1101-0107 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Cool violet) | PCS | 1
SX3IIR2-UP01-ADSBK | Item | W-UPU-1101-0108 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Balck) | PCS | 1
SX3IIR2-UP01-ADSIL | Item | W-UPU-1101-0109 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Shiny silver) | PCS | 1
SX3IIR2-UP01-ADSHP | Item | W-UPU-1101-0110 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Honey pink) | PCS | 1
SX3IIR2-UP01-ADSFG | Item | W-UPU-1101-0111 | UPHOLSTERY ASM/SEAT LEATHER SX3II ASM (Fresh green) | PCS | 1
SX3IIR2-UP02 | Item | W-UPU-1102-0100 | UPHOLSTERY ASM/BACKREST ASM | PCS | 1
SX3IIR2-UP02-ADSLG |  | W-UPU-1102-0101 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Light gray) | PCS | 1
SX3IIR2-UP02-ADSYL |  | W-UPU-1102-0102 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Yellow) | PCS | 1
SX3IIR2-UP02-ADSOG |  | W-UPU-1102-0103 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Orange 7549U) | PCS | 1
SX3IIR2-UP02-ADSPK |  | W-UPU-1102-0104 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Pink) | PCS | 1
SX3IIR2-UP02-ADSOR |  | W-UPU-1102-0105 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Orange 2018C) | PCS | 1
SX3IIR2-UP02-ADSSB |  | W-UPU-1102-0106 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Sky blue) | PCS | 1
SX3IIR2-UP02-ADSCV |  | W-UPU-1102-0107 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Cool violet) | PCS | 1
SX3IIR2-UP02-ADSBK |  | W-UPU-1102-0108 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Balck) | PCS | 1
SX3IIR2-UP02-ADSIL |  | W-UPU-1102-0109 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Shiny silver) | PCS | 1
SX3IIR2-UP02-ADSHP |  | W-UPU-1102-0110 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Honey pink) | PCS | 1
SX3IIR2-UP02-ADSFG |  | W-UPU-1102-0111 | UPHOLSTERY ASM/BACKREST LEATHER SX3II ASM (Fresh green) | PCS | 1
SX3IIR2-UP03 | Item | W-UPU-1103-0100 | UPHOLSTERY ASM/HEADREST ASM | PCS | 1
SX3IIR2-UP03-ADSLG | Item | W-UPU-1103-0101 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Light gray) | PCS | 1
SX3IIR2-UP03-ADSYL | Item | W-UPU-1103-0102 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Yellow) | PCS | 1
SX3IIR2-UP03-ADSOG | Item | W-UPU-1103-0103 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Orange 7549U) | PCS | 1
SX3IIR2-UP03-ADSPK | Item | W-UPU-1103-0104 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Pink) | PCS | 1
SX3IIR2-UP03-ADSOR | Item | W-UPU-1103-0105 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Orange 2018C) | PCS | 1
SX3IIR2-UP03-ADSSB | Item | W-UPU-1103-0106 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Sky blue) | PCS | 1
SX3IIR2-UP03-ADSCV | Item | W-UPU-1103-0107 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Cool violet) | PCS | 1
SX3IIR2-UP03-ADSBK | Item | W-UPU-1103-0108 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Balck) | PCS | 1
SX3IIR2-UP03-ADSIL | Item | W-UPU-1103-0109 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Shiny silver) | PCS | 1
SX3IIR2-UP03-ADSHP | Item | W-UPU-1103-0110 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Honey pink) | PCS | 1
SX3IIR2-UP03-ADSFG | Item | W-UPU-1103-0111 | UPHOLSTERY ASM/HEADREST LEATHER SX3II ASM (Fresh green) | PCS | 1